MINISTRY OF HEALTH & FAMILY WELFARE

Government of India

Through

United Nations Office for Project Services, 11 Golf Links, New Delhi-110003

PROCUREMENT equipment for Blood Component Separation Units

IFB NO. UNOPS India / NACO / BCSU / 20 / 2008

Amendment –I, dt. August 25, 2008

Following modification is made to the bid document for procurement of equipments for Blood Component Separation Units, with reference to above IFB.

| (A) IFB & Bid data Sheet |  |  |
| --- | --- | --- |
| Wherever appearing in the bid document following modification is made |  |  |
| 1. | Last Date For Sale Of Bidding Document : 1200 Hrs On 01 -09-2008 Last Date And Time For Receipt Of Bid: 1400 hrs on 01-09-2008 Time And Date Of Opening Of Bids: 1415 hrs on 01-09-2008 | Last Date For Sale Of Bidding Document : 1200 Hrs On 09 -09-2008 Last Date And Time For Receipt Of Bid: 1400 hrs on 09-09-2008 Time And Date Of Opening Of Bids: 1415 hrs on 09-09-2008 |
| ITB 20.1 of BDS |  |  |
| The bid validity period shall be up to December 31st, 2008. |  | The bid validity period shall be up to January 9, 2009. |

2. Technical Specification, DEEP FREEZERS (-800C)

| Point no 4, Refrigeration System |  |
| --- | --- |
| For | Read |
| Heavy Duty refrigeration system, maintenance free below -800C cascaded connection with hermetically sealed refrigeration compressors and reliable cascaded refrigeration to minimise noise and vibration, air cooled with security lock to prevent unintentional switch off shall be supplied. It should have short cooling time of 4 to 5 hours at maximum ambient temperature of 330C. The equipment should be of continuous duty and frost free. Access port for CO2 back up for refrigeration system in case of machine failure. | Heavy Duty refrigeration system, maintenance free below -800C cascaded connection with hermetically sealed refrigeration compressors and reliable cascaded refrigeration to minimise noise and vibration, air cooled with security lock to prevent unintentional switch off shall be supplied. It should have short cooling time of 4 to 5 hours at maximum ambient temperature of 330C. Access port for CO2 back up for refrigeration system in case of machine failure. |

All other terms & conditions of the original bid document shall remain unaltered.